## PICV Selector
PICV selector
l/s
|  |  | l/h | select only one input
|  |  | m³/h | nur eine Eingabe verwenden
0 | 0 | 0
|  |  | #N/A | l/h
4001
|  | Art.Nr. | 1400121 | 1400122 | 1400123 | 1400124 | 1400125 | 1400126
|  |  | DN 15 | DN 20 | DN 25 | DN 32 | DN 40 | DN 50
|  | VE / preset | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
|  | min. DP | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4006 SMART
2 Test Points |  | Art.Nr. | 1400630 | 1400639 | 1400651 | 1 4006 71 | 1400652 | 1400672
|  | Dim. | DN 15LF | DN 15MF | DN 15SF | DN15HF | DN 20SF | DN 20HF
|  | VE / preset | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
|  | min. DP | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
4006 SMART
3 Test Points |  | Art.Nr. |  |  | 1400656 | 1 4006 76 | 1400657 | 1400677
|  | Dim. |  |  | DN 15SF | DN15HF | DN 20SF | DN 20HF
|  | VE / preset |  |  | #N/A | #N/A | #N/A | #N/A
|  | min. DP |  |  | #N/A | #N/A | #N/A | #N/A
4406
2 Test Points |  | Art.Nr. | 1440623 | 1440624 | 1440625 | 1440626
|  | Dim. | DN 25 | DN 32 | DN 40 | DN 50
|  | VE / preset | #N/A | #N/A | #N/A | #N/A
|  | min. DP | #N/A | #N/A | #N/A | #N/A
4406
3 Test Points |  | Art.Nr. | 1 4406 33 | 1440634 | 1440635 | 1440636
|  | Dim. | DN 25 | DN 32 | DN 40 | DN 50
|  | VE / preset | #N/A | #N/A | #N/A | #N/A
|  | min. DP | #N/A | #N/A | #N/A | #N/A
F 4006 6x
3 Test Points |  | Art.Nr. | F 4006 62 | F 4006 63 | F 4006 64 | F 4006 65 | F 4006 66 | F 4006 56 | F 4006 67 | F 4006 57 | F 4006 68 | F 4006 58 | F 4006 48 | F 4006 69 | F 4006 59
|  | Dim. | 50 | 65 | 80 | 100 | 125 | DN 125 HF | 150 | DN 150 HF | 200 | DN 200 HF | DN 200 UHF | DN 250 SF | DN 250 HF
|  | VE / preset | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
|  | min. DP | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
HERZ accepts no responsibility for possible errors in the program. The data and results are to be tested by the user before application. From these data, no claims against HERZ or its employees can be derived. All information contained is for information only and have no claim to completeness or accuracy and are subject to change due to technical progress. Country-specific product variations are possible. Changes to technical specifications and the function are possible. For questions please contact the nearest branch of HERZ.
|  |  |  | 1 4406 23 |  | 1 4406 24 |  | 1 4406 25 |  | 1 4406 26
| 4406 |  | Einstellung [%] | Q [l/h] | dp [kPa] | Q [l/h] | dp [kPa] | Q [l/h] | dp [kPa] | Q [l/h] | dp [kPa]
|  |  | 20 | 660 | 35 | 1200 | 35 | 1500 | 30 | 2400 | 40
|  |  | 21 | 693 | 35 | 1260 | 35 | 1575 | 30 | 2520 | 40
|  |  | 22 | 726 | 35 | 1320 | 35 | 1650 | 30 | 2640 | 40
|  |  | 23 | 759 | 35 | 1380 | 35 | 1725 | 30 | 2760 | 40
|  |  | 24 | 792 | 35 | 1440 | 35 | 1800 | 30 | 2880 | 40
|  |  | 25 | 825 | 35 | 1500 | 35 | 1875 | 30 | 3000 | 40
|  |  | 26 | 858 | 35 | 1560 | 35 | 1950 | 30 | 3120 | 40
|  |  | 27 | 891 | 35 | 1620 | 35 | 2025 | 30 | 3240 | 40
|  |  | 28 | 924 | 35 | 1680 | 35 | 2100 | 30 | 3360 | 40
|  |  | 29 | 957 | 35 | 1740 | 35 | 2175 | 30 | 3480 | 40
|  |  | 30 | 990 | 35 | 1800 | 35 | 2250 | 30 | 3600 | 40
|  |  | 31 | 1023 | 35 | 1860 | 35 | 2325 | 30 | 3720 | 40
|  |  | 32 | 1056 | 35 | 1920 | 35 | 2400 | 30 | 3840 | 40
|  |  | 33 | 1089 | 35 | 1980 | 35 | 2475 | 30 | 3960 | 40
|  |  | 34 | 1122 | 35 | 2040 | 35 | 2550 | 30 | 4080 | 40
|  |  | 35 | 1155 | 35 | 2100 | 35 | 2625 | 30 | 4200 | 40
|  |  | 36 | 1188 | 35 | 2160 | 35 | 2700 | 30 | 4320 | 40
|  |  | 37 | 1221 | 35 | 2220 | 35 | 2775 | 30 | 4440 | 40
|  |  | 38 | 1254 | 35 | 2280 | 35 | 2850 | 30 | 4560 | 40
|  |  | 39 | 1287 | 35 | 2340 | 35 | 2925 | 30 | 4680 | 40
|  |  | 40 | 1320 | 35 | 2400 | 35 | 3000 | 30 | 4800 | 40
|  |  | 41 | 1353 | 35 | 2460 | 35 | 3075 | 30 | 4920 | 40
|  |  | 42 | 1386 | 35 | 2520 | 35 | 3150 | 30 | 5040 | 40
|  |  | 43 | 1419 | 35 | 2580 | 35 | 3225 | 30 | 5160 | 40
|  |  | 44 | 1452 | 35 | 2640 | 35 | 3300 | 30 | 5280 | 40
|  |  | 45 | 1485 | 35 | 2700 | 35 | 3375 | 30 | 5400 | 40
|  |  | 46 | 1518 | 35 | 2760 | 35 | 3450 | 30 | 5520 | 40
|  |  | 47 | 1551 | 35 | 2820 | 35 | 3525 | 30 | 5640 | 40
|  |  | 48 | 1584 | 35 | 2880 | 35 | 3600 | 30 | 5760 | 40
|  |  | 49 | 1617 | 35 | 2940 | 35 | 3675 | 30 | 5880 | 40
|  |  | 50 | 1650 | 35 | 3000 | 35 | 3750 | 30 | 6000 | 40
|  |  | 51 | 1683 | 35 | 3060 | 35 | 3825 | 30 | 6120 | 40
|  |  | 52 | 1716 | 35 | 3120 | 35 | 3900 | 30 | 6240 | 40
|  |  | 53 | 1749 | 35 | 3180 | 35 | 3975 | 30 | 6360 | 40
|  |  | 54 | 1782 | 35 | 3240 | 35 | 4050 | 30 | 6480 | 40
|  |  | 55 | 1815 | 35 | 3300 | 35 | 4125 | 30 | 6600 | 40
|  |  | 56 | 1848 | 35 | 3360 | 35 | 4200 | 30 | 6720 | 40
|  |  | 57 | 1881 | 35 | 3420 | 35 | 4275 | 30 | 6840 | 40
|  |  | 58 | 1914 | 35 | 3480 | 35 | 4350 | 30 | 6960 | 40
|  |  | 59 | 1947 | 35 | 3540 | 35 | 4425 | 30 | 7080 | 40
|  |  | 60 | 1980 | 35 | 3600 | 35 | 4500 | 30 | 7200 | 40
|  |  | 61 | 2013 | 35 | 3660 | 35 | 4575 | 30 | 7320 | 40
|  |  | 62 | 2046 | 35 | 3720 | 35 | 4650 | 30 | 7440 | 40
|  |  | 63 | 2079 | 35 | 3780 | 35 | 4725 | 30 | 7560 | 40
|  |  | 64 | 2112 | 35 | 3840 | 35 | 4800 | 30 | 7680 | 40
|  |  | 65 | 2145 | 35 | 3900 | 35 | 4875 | 30 | 7800 | 40
|  |  | 66 | 2178 | 35 | 3960 | 35 | 4950 | 30 | 7920 | 40
|  |  | 67 | 2211 | 35 | 4020 | 35 | 5025 | 30 | 8040 | 40
|  |  | 68 | 2244 | 35 | 4080 | 35 | 5100 | 30 | 8160 | 40
|  |  | 69 | 2277 | 35 | 4140 | 35 | 5175 | 30 | 8280 | 40
|  |  | 70 | 2310 | 35 | 4200 | 35 | 5250 | 30 | 8400 | 40
|  |  | 71 | 2343 | 35 | 4260 | 35 | 5325 | 30 | 8520 | 40
|  |  | 72 | 2376 | 35 | 4320 | 35 | 5400 | 30 | 8640 | 40
|  |  | 73 | 2409 | 35 | 4380 | 35 | 5475 | 30 | 8760 | 40
|  |  | 74 | 2442 | 35 | 4440 | 35 | 5550 | 30 | 8880 | 40
|  |  | 75 | 2475 | 35 | 4500 | 35 | 5625 | 30 | 9000 | 40
|  |  | 76 | 2508 | 35 | 4560 | 35 | 5700 | 30 | 9120 | 40
|  |  | 77 | 2541 | 35 | 4620 | 35 | 5775 | 30 | 9240 | 40
|  |  | 78 | 2574 | 35 | 4680 | 35 | 5850 | 30 | 9360 | 40
|  |  | 79 | 2607 | 35 | 4740 | 35 | 5925 | 30 | 9480 | 40
|  |  | 80 | 2640 | 35 | 4800 | 35 | 6000 | 30 | 9600 | 40
|  |  | 81 | 2673 | 35 | 4860 | 35 | 6075 | 30 | 9720 | 40
|  |  | 82 | 2706 | 35 | 4920 | 35 | 6150 | 30 | 9840 | 40
|  |  | 83 | 2739 | 35 | 4980 | 35 | 6225 | 30 | 9960 | 40
|  |  | 84 | 2772 | 35 | 5040 | 35 | 6300 | 30 | 10080 | 40
|  |  | 85 | 2805 | 35 | 5100 | 35 | 6375 | 30 | 10200 | 40
|  |  | 86 | 2838 | 35 | 5160 | 35 | 6450 | 30 | 10320 | 40
|  |  | 87 | 2871 | 35 | 5220 | 35 | 6525 | 30 | 10440 | 40
|  |  | 88 | 2904 | 35 | 5280 | 35 | 6600 | 30 | 10560 | 40
|  |  | 89 | 2937 | 35 | 5340 | 35 | 6675 | 30 | 10680 | 40
|  |  | 90 | 2970 | 35 | 5400 | 35 | 6750 | 30 | 10800 | 40
|  |  | 91 | 3003 | 35 | 5460 | 35 | 6825 | 30 | 10920 | 40
|  |  | 92 | 3036 | 35 | 5520 | 35 | 6900 | 30 | 11040 | 40
|  |  | 93 | 3069 | 35 | 5580 | 35 | 6975 | 30 | 11160 | 40
|  |  | 94 | 3102 | 35 | 5640 | 35 | 7050 | 30 | 11280 | 40
|  |  | 95 | 3135 | 35 | 5700 | 35 | 7125 | 30 | 11400 | 40
|  |  | 96 | 3168 | 35 | 5760 | 35 | 7200 | 30 | 11520 | 40
|  |  | 97 | 3201 | 35 | 5820 | 35 | 7275 | 30 | 11640 | 40
|  |  | 98 | 3234 | 35 | 5880 | 35 | 7350 | 30 | 11760 | 40
|  |  | 99 | 3267 | 35 | 5940 | 35 | 7425 | 30 | 11880 | 40
|  |  | 100 | 3300 | 35 | 6000 | 35 | 7500 | 30 | 12000 | 40
|  |  |  | 1 4006 30 |  | 1 4006 39 |  | 1 4006 51 |  | 1 4006 71 |  | 1 4006 52 |  | 1 4006 72
| 4006 SMART |  | Einstellung [%] | Q [l/h] | dp [kPa] | Q [l/h] | dp [kPa] | Q [l/h] | dp [kPa] | Q [l/h] | dp [kPa] | Q [l/h] | dp [kPa] | Q [l/h] | dp [kPa]
|  |  | 20 | 19.2174 | 18 | 28.2609 | 20 | 160 | 20 | 240 | 20 | 240 | 20 | 400 | 20
|  |  | 21 | 20.1739 | 18 | 29.6087 | 20 | 168 | 20 | 252 | 20 | 252 | 20 | 420 | 20
|  |  | 22 | 21.1304 | 18 | 30.9565 | 20 | 176 | 20 | 264 | 20 | 264 | 20 | 440 | 20
|  |  | 23 | 22.087 | 18 | 32.3043 | 20 | 184 | 20 | 276 | 20 | 276 | 20 | 460 | 20
|  |  | 24 | 23.0435 | 18 | 33.6522 | 20 | 192 | 20 | 288 | 20 | 288 | 20 | 480 | 20
|  |  | 25 | 24 | 18 | 35 | 20 | 200 | 20 | 300 | 20 | 300 | 20 | 500 | 20
|  |  | 26 | 25.44 | 18 | 37.2 | 20 | 208 | 20 | 312 | 20 | 312 | 20 | 520 | 20
|  |  | 27 | 26.88 | 18 | 39.4 | 20 | 216 | 20 | 324 | 20 | 324 | 20 | 540 | 20
|  |  | 28 | 28.32 | 18 | 41.6 | 20 | 224 | 20 | 336 | 20 | 336 | 20 | 560 | 20
|  |  | 29 | 29.76 | 18 | 43.8 | 20 | 232 | 20 | 348 | 20 | 348 | 20 | 580 | 20
|  |  | 30 | 31.2 | 18 | 46 | 20 | 240 | 20 | 360 | 20 | 360 | 20 | 600 | 20
|  |  | 31 | 32.64 | 18 | 48.2 | 20 | 248 | 20 | 372 | 20 | 372 | 20 | 620 | 20
|  |  | 32 | 34.08 | 18 | 50.4 | 20 | 256 | 20 | 384 | 20 | 384 | 20 | 640 | 20
|  |  | 33 | 35.52 | 18 | 52.6 | 20 | 264 | 20 | 396 | 20 | 396 | 20 | 660 | 20
|  |  | 34 | 36.96 | 18 | 54.8 | 20 | 272 | 20 | 408 | 20 | 408 | 20 | 680 | 20
|  |  | 35 | 38.4 | 18 | 57 | 20 | 280 | 20 | 420 | 20 | 420 | 20 | 700 | 20
|  |  | 36 | 39.84 | 18 | 59.2 | 20 | 288 | 20 | 432 | 20 | 432 | 20 | 720 | 20
|  |  | 37 | 41.28 | 18 | 61.4 | 20 | 296 | 20 | 444 | 20 | 444 | 20 | 740 | 20
|  |  | 38 | 42.72 | 18 | 63.6 | 20 | 304 | 20 | 456 | 20 | 456 | 20 | 760 | 20
|  |  | 39 | 44.16 | 18 | 65.8 | 20 | 312 | 20 | 468 | 20 | 468 | 20 | 780 | 20
|  |  | 40 | 45.6 | 18 | 68 | 20 | 320 | 20 | 480 | 20 | 480 | 20 | 800 | 20
|  |  | 41 | 47.04 | 18 | 70.2 | 20 | 328 | 20 | 492 | 20 | 492 | 20 | 820 | 20
|  |  | 42 | 48.48 | 18 | 72.4 | 20 | 336 | 20 | 504 | 20 | 504 | 20 | 840 | 20
|  |  | 43 | 49.92 | 18 | 74.6 | 20 | 344 | 20 | 516 | 20 | 516 | 20 | 860 | 20
|  |  | 44 | 51.36 | 18 | 76.8 | 20 | 352 | 20 | 528 | 20 | 528 | 20 | 880 | 20
|  |  | 45 | 52.8 | 18 | 79 | 20 | 360 | 20 | 540 | 20 | 540 | 20 | 900 | 20
|  |  | 46 | 54.24 | 18 | 81.2 | 20 | 368 | 20 | 552 | 20 | 552 | 20 | 920 | 20
|  |  | 47 | 55.68 | 18 | 83.4 | 20 | 376 | 20 | 564 | 20 | 564 | 20 | 940 | 20
|  |  | 48 | 57.12 | 18 | 85.6 | 20 | 384 | 20 | 576 | 20 | 576 | 20 | 960 | 20
|  |  | 49 | 58.56 | 18 | 87.8 | 20 | 392 | 20 | 588 | 20 | 588 | 20 | 980 | 20
|  |  | 50 | 60 | 18 | 90 | 20 | 400 | 20 | 600 | 20 | 600 | 20 | 1000 | 20
|  |  | 51 | 61.2 | 18 | 92 | 20 | 408 | 20 | 612 | 20 | 612 | 20 | 1020 | 20
|  |  | 52 | 62.4 | 18 | 94 | 20 | 416 | 20 | 624 | 20 | 624 | 20 | 1040 | 20
|  |  | 53 | 63.6 | 18 | 96 | 20 | 424 | 20 | 636 | 20 | 636 | 20 | 1060 | 20
|  |  | 54 | 64.8 | 18 | 98 | 20 | 432 | 20 | 648 | 20 | 648 | 20 | 1080 | 20
|  |  | 55 | 66 | 18 | 100 | 20 | 440 | 20 | 660 | 20 | 660 | 20 | 1100 | 20
|  |  | 56 | 67.2 | 18 | 102 | 20 | 448 | 20 | 672 | 20 | 672 | 20 | 1120 | 20
|  |  | 57 | 68.4 | 18 | 104 | 20 | 456 | 20 | 684 | 20 | 684 | 20 | 1140 | 20
|  |  | 58 | 69.6 | 18 | 106 | 20 | 464 | 20 | 696 | 20 | 696 | 20 | 1160 | 20
|  |  | 59 | 70.8 | 18 | 108 | 20 | 472 | 20 | 708 | 20 | 708 | 20 | 1180 | 20
|  |  | 60 | 72 | 18 | 110 | 20 | 480 | 20 | 720 | 20 | 720 | 20 | 1200 | 20
|  |  | 61 | 73.2 | 18 | 112 | 20 | 488 | 20 | 732 | 20 | 732 | 20 | 1220 | 20
|  |  | 62 | 74.4 | 18 | 114 | 20 | 496 | 20 | 744 | 20 | 744 | 20 | 1240 | 20
|  |  | 63 | 75.6 | 18 | 116 | 20 | 504 | 20 | 756 | 20 | 756 | 20 | 1260 | 20
|  |  | 64 | 76.8 | 18 | 118 | 20 | 512 | 20 | 768 | 20 | 768 | 20 | 1280 | 20
|  |  | 65 | 78 | 18 | 120 | 20 | 520 | 20 | 780 | 20 | 780 | 20 | 1300 | 20
|  |  | 66 | 79.2 | 18 | 122 | 20 | 528 | 20 | 792 | 20 | 792 | 20 | 1320 | 20
|  |  | 67 | 80.4 | 18 | 124 | 20 | 536 | 20 | 804 | 20 | 804 | 20 | 1340 | 20
|  |  | 68 | 81.6 | 18 | 126 | 20 | 544 | 20 | 816 | 20 | 816 | 20 | 1360 | 20
|  |  | 69 | 82.8 | 18 | 128 | 20 | 552 | 20 | 828 | 20 | 828 | 20 | 1380 | 20
|  |  | 70 | 84 | 18 | 130 | 20 | 560 | 20 | 840 | 20 | 840 | 20 | 1400 | 20
|  |  | 71 | 85.2 | 18 | 132 | 20 | 568 | 20 | 852 | 20 | 852 | 20 | 1420 | 20.4167
|  |  | 72 | 86.4 | 18 | 134 | 20 | 576 | 20 | 864 | 20 | 864 | 20 | 1440 | 20.8333
|  |  | 73 | 87.6 | 18 | 136 | 20 | 584 | 20 | 876 | 20 | 876 | 20 | 1460 | 21.25
|  |  | 74 | 88.8 | 18 | 138 | 20 | 592 | 20 | 888 | 20 | 888 | 20 | 1480 | 21.6667
|  |  | 75 | 90 | 18 | 140 | 20 | 600 | 20 | 900 | 20 | 900 | 20 | 1500 | 22.0833
|  |  | 76 | 91.2 | 18 | 142 | 20 | 608 | 20 | 912 | 20 | 912 | 20 | 1520 | 22.5
|  |  | 77 | 92.4 | 18 | 144 | 20 | 616 | 20 | 924 | 20 | 924 | 20 | 1540 | 22.9167
|  |  | 78 | 93.6 | 18 | 146 | 20 | 624 | 20 | 936 | 20 | 936 | 20 | 1560 | 23.3333
|  |  | 79 | 94.8 | 18 | 148 | 20 | 632 | 20 | 948 | 20 | 948 | 20 | 1580 | 23.75
|  |  | 80 | 96 | 18 | 150 | 20 | 640 | 20 | 960 | 20 | 960 | 20 | 1600 | 24.1667
|  |  | 81 | 97.2 | 18 | 152 | 20 | 648 | 20 | 972 | 20 | 972 | 20 | 1620 | 24.5833
|  |  | 82 | 98.4 | 18 | 154 | 20 | 656 | 20 | 984 | 20 | 984 | 20 | 1640 | 25
|  |  | 83 | 99.6 | 18 | 156 | 20 | 664 | 20 | 996 | 20 | 996 | 20 | 1660 | 25.4167
|  |  | 84 | 100.8 | 18 | 158 | 20 | 672 | 20 | 1008 | 20 | 1008 | 20 | 1680 | 25.8333
|  |  | 85 | 102 | 18 | 160 | 20 | 680 | 20 | 1020 | 20 | 1020 | 20 | 1700 | 26.25
|  |  | 86 | 103.2 | 18 | 162 | 20 | 688 | 20 | 1032 | 20 | 1032 | 20 | 1720 | 26.6667
|  |  | 87 | 104.4 | 18 | 164 | 20 | 696 | 20 | 1044 | 20 | 1044 | 20 | 1740 | 27.0833
|  |  | 88 | 105.6 | 18 | 166 | 20 | 704 | 20 | 1056 | 20 | 1056 | 20 | 1760 | 27.5
|  |  | 89 | 106.8 | 18 | 168 | 20 | 712 | 20 | 1068 | 20 | 1068 | 20 | 1780 | 27.9167
|  |  | 90 | 108 | 18 | 170 | 20 | 720 | 20 | 1080 | 20 | 1080 | 20 | 1800 | 28.3333
|  |  | 91 | 109.2 | 18 | 172 | 20 | 728 | 20 | 1092 | 20 | 1092 | 20 | 1820 | 28.75
|  |  | 92 | 110.4 | 18 | 174 | 20 | 736 | 20 | 1104 | 20 | 1104 | 20 | 1840 | 29.1667
|  |  | 93 | 111.6 | 18 | 176 | 20 | 744 | 20 | 1116 | 20 | 1116 | 20 | 1860 | 29.5833
|  |  | 94 | 112.8 | 18 | 178 | 20 | 752 | 20 | 1128 | 20 | 1128 | 20 | 1880 | 30
|  |  | 95 | 114 | 18 | 180 | 20 | 760 | 20 | 1140 | 20 | 1140 | 20 | 1900 | 30.4167
|  |  | 96 | 115.2 | 18 | 182 | 20 | 768 | 20 | 1152 | 20 | 1152 | 20 | 1920 | 30.8333
|  |  | 97 | 116.4 | 18 | 184 | 20 | 776 | 20 | 1164 | 20 | 1164 | 20 | 1940 | 31.25
|  |  | 98 | 117.6 | 18 | 186 | 20 | 784 | 20 | 1176 | 20 | 1176 | 20 | 1960 | 31.6667
|  |  | 99 | 118.8 | 18 | 188 | 20 | 792 | 20 | 1188 | 20 | 1188 | 20 | 1980 | 32.0833
|  |  | 100 | 120 | 18 | 190 | 20 | 800 | 20 | 1200 | 20 | 1200 | 20 | 2000 | 32.5
|  |  | F400662 |  | F400663 |  | F400664 |  | F400665 |  | F400666 |  | F400656 |  | F400667 |  | F400657 |  | F400668 |  | F400658 |  | F400648 |  | F400669 |  | F400659
| F40066x | Einstellung [%] | Q [l/h] | dp [kPa] | Q [l/h] | dp [kPa] | Q [l/h] | dp [kPa] | Q [l/h] | dp [kPa] | Q [l/h] | dp [kPa] | Q [l/h] | dp [kPa] | Q [l/h] | dp [kPa] | Q [l/h] | dp [kPa] | Q [l/h] | dp [kPa] | Q [l/h] | dp [kPa] | Q [l/h] | dp [kPa] | Q [l/h] | dp [kPa] | Q [l/h] | dp [kPa]
|  | 25 | 3750 | 40 | 5000 | 40 | 9000 | 40 | 10750 | 40 | 25000 | 40 | 37500 | 70 | 36250 | 40 | 50000 | 70 | 50000 | 40 | 75000 | 70 | 87500 | 85 | 87500 | 50 | 102500 | 70
|  | 26 | 3900 | 40 | 5200 | 40 | 9360 | 40 | 11180 | 40 | 26000 | 40 | 39000 | 70 | 37700 | 40 | 52000 | 70 | 52000 | 40 | 78000 | 70 | 91000 | 85 | 91000 | 50 | 106600 | 70
|  | 27 | 4050 | 40 | 5400 | 40 | 9720 | 40 | 11610 | 40 | 27000 | 40 | 40500 | 70 | 39150 | 40 | 54000 | 70 | 54000 | 40 | 81000 | 70 | 94500 | 85 | 94500 | 50 | 110700 | 70
|  | 28 | 4200 | 40 | 5600 | 40 | 10080 | 40 | 12040 | 40 | 28000 | 40 | 42000 | 70 | 40600 | 40 | 56000 | 70 | 56000 | 40 | 84000 | 70 | 98000 | 85 | 98000 | 50 | 114800 | 70
|  | 29 | 4350 | 40 | 5800 | 40 | 10440 | 40 | 12470 | 40 | 29000 | 40 | 43500 | 70 | 42050 | 40 | 58000 | 70 | 58000 | 40 | 87000 | 70 | 101500 | 85 | 101500 | 50 | 118900 | 70
|  | 30 | 4500 | 40 | 6000 | 40 | 10800 | 40 | 12900 | 40 | 30000 | 40 | 45000 | 70 | 43500 | 40 | 60000 | 70 | 60000 | 40 | 90000 | 70 | 105000 | 85 | 105000 | 50 | 123000 | 70
|  | 31 | 4650 | 40 | 6200 | 40 | 11160 | 40 | 13330 | 40 | 31000 | 40 | 46500 | 70 | 44950 | 40 | 62000 | 70 | 62000 | 40 | 93000 | 70 | 108500 | 85 | 108500 | 50 | 127100 | 70
|  | 32 | 4800 | 40 | 6400 | 40 | 11520 | 40 | 13760 | 40 | 32000 | 40 | 48000 | 70 | 46400 | 40 | 64000 | 70 | 64000 | 40 | 96000 | 70 | 112000 | 85 | 112000 | 50 | 131200 | 70
|  | 33 | 4950 | 40 | 6600 | 40 | 11880 | 40 | 14190 | 40 | 33000 | 40 | 49500 | 70 | 47850 | 40 | 66000 | 70 | 66000 | 40 | 99000 | 70 | 115500 | 85 | 115500 | 50 | 135300 | 70
|  | 34 | 5100 | 40 | 6800 | 40 | 12240 | 40 | 14620 | 40 | 34000 | 40 | 51000 | 70 | 49300 | 40 | 68000 | 70 | 68000 | 40 | 102000 | 70 | 119000 | 85 | 119000 | 50 | 139400 | 70
|  | 35 | 5250 | 40 | 7000 | 40 | 12600 | 40 | 15050 | 40 | 35000 | 40 | 52500 | 70 | 50750 | 40 | 70000 | 70 | 70000 | 40 | 105000 | 70 | 122500 | 85 | 122500 | 50 | 143500 | 70
|  | 36 | 5400 | 40 | 7200 | 40 | 12960 | 40 | 15480 | 40 | 36000 | 40 | 54000 | 70 | 52200 | 40 | 72000 | 70 | 72000 | 40 | 108000 | 70 | 126000 | 85 | 126000 | 50 | 147600 | 70
|  | 37 | 5550 | 40 | 7400 | 40 | 13320 | 40 | 15910 | 40 | 37000 | 40 | 55500 | 70 | 53650 | 40 | 74000 | 70 | 74000 | 40 | 111000 | 70 | 129500 | 85 | 129500 | 50 | 151700 | 70
|  | 38 | 5700 | 40 | 7600 | 40 | 13680 | 40 | 16340 | 40 | 38000 | 40 | 57000 | 70 | 55100 | 40 | 76000 | 70 | 76000 | 40 | 114000 | 70 | 133000 | 85 | 133000 | 50 | 155800 | 70
|  | 39 | 5850 | 40 | 7800 | 40 | 14040 | 40 | 16770 | 40 | 39000 | 40 | 58500 | 70 | 56550 | 40 | 78000 | 70 | 78000 | 40 | 117000 | 70 | 136500 | 85 | 136500 | 50 | 159900 | 70
|  | 40 | 6000 | 40 | 8000 | 40 | 14400 | 40 | 17200 | 40 | 40000 | 40 | 60000 | 70 | 58000 | 40 | 80000 | 70 | 80000 | 40 | 120000 | 70 | 140000 | 85 | 140000 | 50 | 164000 | 70
|  | 41 | 6150 | 40 | 8200 | 40 | 14760 | 40 | 17630 | 40 | 41000 | 40 | 61500 | 70 | 59450 | 40 | 82000 | 70 | 82000 | 40 | 123000 | 70 | 143500 | 85 | 143500 | 50 | 168100 | 70
|  | 42 | 6300 | 40 | 8400 | 40 | 15120 | 40 | 18060 | 40 | 42000 | 40 | 63000 | 70 | 60900 | 40 | 84000 | 70 | 84000 | 40 | 126000 | 70 | 147000 | 85 | 147000 | 50 | 172200 | 70
|  | 43 | 6450 | 40 | 8600 | 40 | 15480 | 40 | 18490 | 40 | 43000 | 40 | 64500 | 70 | 62350 | 40 | 86000 | 70 | 86000 | 40 | 129000 | 70 | 150500 | 85 | 150500 | 50 | 176300 | 70
|  | 44 | 6600 | 40 | 8800 | 40 | 15840 | 40 | 18920 | 40 | 44000 | 40 | 66000 | 70 | 63800 | 40 | 88000 | 70 | 88000 | 40 | 132000 | 70 | 154000 | 85 | 154000 | 50 | 180400 | 70
|  | 45 | 6750 | 40 | 9000 | 40 | 16200 | 40 | 19350 | 40 | 45000 | 40 | 67500 | 70 | 65250 | 40 | 90000 | 70 | 90000 | 40 | 135000 | 70 | 157500 | 85 | 157500 | 50 | 184500 | 70
|  | 46 | 6900 | 40 | 9200 | 40 | 16560 | 40 | 19780 | 40 | 46000 | 40 | 69000 | 70 | 66700 | 40 | 92000 | 70 | 92000 | 40 | 138000 | 70 | 161000 | 85 | 161000 | 50 | 188600 | 70
|  | 47 | 7050 | 40 | 9400 | 40 | 16920 | 40 | 20210 | 40 | 47000 | 40 | 70500 | 70 | 68150 | 40 | 94000 | 70 | 94000 | 40 | 141000 | 70 | 164500 | 85 | 164500 | 50 | 192700 | 70
|  | 48 | 7200 | 40 | 9600 | 40 | 17280 | 40 | 20640 | 40 | 48000 | 40 | 72000 | 70 | 69600 | 40 | 96000 | 70 | 96000 | 40 | 144000 | 70 | 168000 | 85 | 168000 | 50 | 196800 | 70
|  | 49 | 7350 | 40 | 9800 | 40 | 17640 | 40 | 21070 | 40 | 49000 | 40 | 73500 | 70 | 71050 | 40 | 98000 | 70 | 98000 | 40 | 147000 | 70 | 171500 | 85 | 171500 | 50 | 200900 | 70
|  | 50 | 7500 | 40 | 10000 | 40 | 18000 | 40 | 21500 | 40 | 50000 | 40 | 75000 | 70 | 72500 | 40 | 100000 | 70 | 100000 | 40 | 150000 | 70 | 175000 | 85 | 175000 | 50 | 205000 | 70
|  | 51 | 7650 | 40 | 10200 | 40 | 18360 | 40 | 21930 | 40 | 51000 | 40 | 76500 | 70 | 73950 | 40 | 102000 | 70 | 102000 | 40 | 153000 | 70 | 178500 | 85 | 178500 | 50 | 209100 | 70
|  | 52 | 7800 | 40 | 10400 | 40 | 18720 | 40 | 22360 | 40 | 52000 | 40 | 78000 | 70 | 75400 | 40 | 104000 | 70 | 104000 | 40 | 156000 | 70 | 182000 | 85 | 182000 | 50 | 213200 | 70
|  | 53 | 7950 | 40 | 10600 | 40 | 19080 | 40 | 22790 | 40 | 53000 | 40 | 79500 | 70 | 76850 | 40 | 106000 | 70 | 106000 | 40 | 159000 | 70 | 185500 | 85 | 185500 | 50 | 217300 | 70
|  | 54 | 8100 | 40 | 10800 | 40 | 19440 | 40 | 23220 | 40 | 54000 | 40 | 81000 | 70 | 78300 | 40 | 108000 | 70 | 108000 | 40 | 162000 | 70 | 189000 | 85 | 189000 | 50 | 221400 | 70
|  | 55 | 8250 | 40 | 11000 | 40 | 19800 | 40 | 23650 | 40 | 55000 | 40 | 82500 | 70 | 79750 | 40 | 110000 | 70 | 110000 | 40 | 165000 | 70 | 192500 | 85 | 192500 | 50 | 225500 | 70
|  | 56 | 8400 | 40 | 11200 | 40 | 20160 | 40 | 24080 | 40 | 56000 | 40 | 84000 | 70 | 81200 | 40 | 112000 | 70 | 112000 | 40 | 168000 | 70 | 196000 | 85 | 196000 | 50 | 229600 | 70
|  | 57 | 8550 | 40 | 11400 | 40 | 20520 | 40 | 24510 | 40 | 57000 | 40 | 85500 | 70 | 82650 | 40 | 114000 | 70 | 114000 | 40 | 171000 | 70 | 199500 | 85 | 199500 | 50 | 233700 | 70
|  | 58 | 8700 | 40 | 11600 | 40 | 20880 | 40 | 24940 | 40 | 58000 | 40 | 87000 | 70 | 84100 | 40 | 116000 | 70 | 116000 | 40 | 174000 | 70 | 203000 | 85 | 203000 | 50 | 237800 | 70
|  | 59 | 8850 | 40 | 11800 | 40 | 21240 | 40 | 25370 | 40 | 59000 | 40 | 88500 | 70 | 85550 | 40 | 118000 | 70 | 118000 | 40 | 177000 | 70 | 206500 | 85 | 206500 | 50 | 241900 | 70
|  | 60 | 9000 | 40 | 12000 | 40 | 21600 | 40 | 25800 | 40 | 60000 | 40 | 90000 | 70 | 87000 | 40 | 120000 | 70 | 120000 | 40 | 180000 | 70 | 210000 | 85 | 210000 | 50 | 246000 | 70
|  | 61 | 9150 | 40 | 12200 | 40 | 21960 | 40 | 26230 | 40 | 61000 | 40 | 91500 | 70 | 88450 | 40 | 122000 | 70 | 122000 | 40 | 183000 | 70 | 213500 | 85 | 213500 | 50 | 250100 | 70
|  | 62 | 9300 | 40 | 12400 | 40 | 22320 | 40 | 26660 | 40 | 62000 | 40 | 93000 | 70 | 89900 | 40 | 124000 | 70 | 124000 | 40 | 186000 | 70 | 217000 | 85 | 217000 | 50 | 254200 | 70
|  | 63 | 9450 | 40 | 12600 | 40 | 22680 | 40 | 27090 | 40 | 63000 | 40 | 94500 | 70 | 91350 | 40 | 126000 | 70 | 126000 | 40 | 189000 | 70 | 220500 | 85 | 220500 | 50 | 258300 | 70
|  | 64 | 9600 | 40 | 12800 | 40 | 23040 | 40 | 27520 | 40 | 64000 | 40 | 96000 | 70 | 92800 | 40 | 128000 | 70 | 128000 | 40 | 192000 | 70 | 224000 | 85 | 224000 | 50 | 262400 | 70
|  | 65 | 9750 | 40 | 13000 | 40 | 23400 | 40 | 27950 | 40 | 65000 | 40 | 97500 | 70 | 94250 | 40 | 130000 | 70 | 130000 | 40 | 195000 | 70 | 227500 | 85 | 227500 | 50 | 266500 | 70
|  | 66 | 9900 | 40 | 13200 | 40 | 23760 | 40 | 28380 | 40 | 66000 | 40 | 99000 | 70 | 95700 | 40 | 132000 | 70 | 132000 | 40 | 198000 | 70 | 231000 | 85 | 231000 | 50 | 270600 | 70
|  | 67 | 10050 | 40 | 13400 | 40 | 24120 | 40 | 28810 | 40 | 67000 | 40 | 100500 | 70 | 97150 | 40 | 134000 | 70 | 134000 | 40 | 201000 | 70 | 234500 | 85 | 234500 | 50 | 274700 | 70
|  | 68 | 10200 | 40 | 13600 | 40 | 24480 | 40 | 29240 | 40 | 68000 | 40 | 102000 | 70 | 98600 | 40 | 136000 | 70 | 136000 | 40 | 204000 | 70 | 238000 | 85 | 238000 | 50 | 278800 | 70
|  | 69 | 10350 | 40 | 13800 | 40 | 24840 | 40 | 29670 | 40 | 69000 | 40 | 103500 | 70 | 100050 | 40 | 138000 | 70 | 138000 | 40 | 207000 | 70 | 241500 | 85 | 241500 | 50 | 282900 | 70
|  | 70 | 10500 | 40 | 14000 | 40 | 25200 | 40 | 30100 | 40 | 70000 | 40 | 105000 | 70 | 101500 | 40 | 140000 | 70 | 140000 | 40 | 210000 | 70 | 245000 | 85 | 245000 | 50 | 287000 | 70
|  | 71 | 10650 | 40 | 14200 | 40 | 25560 | 40 | 30530 | 40 | 71000 | 40 | 106500 | 70 | 102950 | 40 | 142000 | 70 | 142000 | 40 | 213000 | 70 | 248500 | 85 | 248500 | 50 | 291100 | 70
|  | 72 | 10800 | 40 | 14400 | 40 | 25920 | 40 | 30960 | 40 | 72000 | 40 | 108000 | 70 | 104400 | 40 | 144000 | 70 | 144000 | 40 | 216000 | 70 | 252000 | 85 | 252000 | 50 | 295200 | 70
|  | 73 | 10950 | 40 | 14600 | 40 | 26280 | 40 | 31390 | 40 | 73000 | 40 | 109500 | 70 | 105850 | 40 | 146000 | 70 | 146000 | 40 | 219000 | 70 | 255500 | 85 | 255500 | 50 | 299300 | 70
|  | 74 | 11100 | 40 | 14800 | 40 | 26640 | 40 | 31820 | 40 | 74000 | 40 | 111000 | 70 | 107300 | 40 | 148000 | 70 | 148000 | 40 | 222000 | 70 | 259000 | 85 | 259000 | 50 | 303400 | 70
|  | 75 | 11250 | 40 | 15000 | 40 | 27000 | 40 | 32250 | 40 | 75000 | 40 | 112500 | 70 | 108750 | 40 | 150000 | 70 | 150000 | 40 | 225000 | 70 | 262500 | 85 | 262500 | 50 | 307500 | 70
|  | 76 | 11400 | 40 | 15200 | 40 | 27360 | 40 | 32680 | 40 | 76000 | 40 | 114000 | 70 | 110200 | 40 | 152000 | 70 | 152000 | 40 | 228000 | 70 | 266000 | 85 | 266000 | 50 | 311600 | 70
|  | 77 | 11550 | 40 | 15400 | 40 | 27720 | 40 | 33110 | 40 | 77000 | 40 | 115500 | 70 | 111650 | 40 | 154000 | 70 | 154000 | 40 | 231000 | 70 | 269500 | 85 | 269500 | 50 | 315700 | 70
|  | 78 | 11700 | 40 | 15600 | 40 | 28080 | 40 | 33540 | 40 | 78000 | 40 | 117000 | 70 | 113100 | 40 | 156000 | 70 | 156000 | 40 | 234000 | 70 | 273000 | 85 | 273000 | 50 | 319800 | 70
|  | 79 | 11850 | 40 | 15800 | 40 | 28440 | 40 | 33970 | 40 | 79000 | 40 | 118500 | 70 | 114550 | 40 | 158000 | 70 | 158000 | 40 | 237000 | 70 | 276500 | 85 | 276500 | 50 | 323900 | 70
|  | 80 | 12000 | 40 | 16000 | 40 | 28800 | 40 | 34400 | 40 | 80000 | 40 | 120000 | 70 | 116000 | 40 | 160000 | 70 | 160000 | 40 | 240000 | 70 | 280000 | 85 | 280000 | 50 | 328000 | 70
|  | 81 | 12150 | 40 | 16200 | 40 | 29160 | 40 | 34830 | 40 | 81000 | 40 | 121500 | 70 | 117450 | 40 | 162000 | 70 | 162000 | 40 | 243000 | 70 | 283500 | 85 | 283500 | 50 | 332100 | 70
|  | 82 | 12300 | 40 | 16400 | 40 | 29520 | 40 | 35260 | 40 | 82000 | 40 | 123000 | 70 | 118900 | 40 | 164000 | 70 | 164000 | 40 | 246000 | 70 | 287000 | 85 | 287000 | 50 | 336200 | 70
|  | 83 | 12450 | 40 | 16600 | 40 | 29880 | 40 | 35690 | 40 | 83000 | 40 | 124500 | 70 | 120350 | 40 | 166000 | 70 | 166000 | 40 | 249000 | 70 | 290500 | 85 | 290500 | 50 | 340300 | 70
|  | 84 | 12600 | 40 | 16800 | 40 | 30240 | 40 | 36120 | 40 | 84000 | 40 | 126000 | 70 | 121800 | 40 | 168000 | 70 | 168000 | 40 | 252000 | 70 | 294000 | 85 | 294000 | 50 | 344400 | 70
|  | 85 | 12750 | 40 | 17000 | 40 | 30600 | 40 | 36550 | 40 | 85000 | 40 | 127500 | 70 | 123250 | 40 | 170000 | 70 | 170000 | 40 | 255000 | 70 | 297500 | 85 | 297500 | 50 | 348500 | 70
|  | 86 | 12900 | 40 | 17200 | 40 | 30960 | 40 | 36980 | 40 | 86000 | 40 | 129000 | 70 | 124700 | 40 | 172000 | 70 | 172000 | 40 | 258000 | 70 | 301000 | 85 | 301000 | 50 | 352600 | 70
|  | 87 | 13050 | 40 | 17400 | 40 | 31320 | 40 | 37410 | 40 | 87000 | 40 | 130500 | 70 | 126150 | 40 | 174000 | 70 | 174000 | 40 | 261000 | 70 | 304500 | 85 | 304500 | 50 | 356700 | 70
|  | 88 | 13200 | 40 | 17600 | 40 | 31680 | 40 | 37840 | 40 | 88000 | 40 | 132000 | 70 | 127600 | 40 | 176000 | 70 | 176000 | 40 | 264000 | 70 | 308000 | 85 | 308000 | 50 | 360800 | 70
|  | 89 | 13350 | 40 | 17800 | 40 | 32040 | 40 | 38270 | 40 | 89000 | 40 | 133500 | 70 | 129050 | 40 | 178000 | 70 | 178000 | 40 | 267000 | 70 | 311500 | 85 | 311500 | 50 | 364900 | 70
|  | 90 | 13500 | 40 | 18000 | 40 | 32400 | 40 | 38700 | 40 | 90000 | 40 | 135000 | 70 | 130500 | 40 | 180000 | 70 | 180000 | 40 | 270000 | 70 | 315000 | 85 | 315000 | 50 | 369000 | 70
|  | 91 | 13650 | 40 | 18200 | 40 | 32760 | 40 | 39130 | 40 | 91000 | 40 | 136500 | 70 | 131950 | 40 | 182000 | 70 | 182000 | 40 | 273000 | 70 | 318500 | 85 | 318500 | 50 | 373100 | 70
|  | 92 | 13800 | 40 | 18400 | 40 | 33120 | 40 | 39560 | 40 | 92000 | 40 | 138000 | 70 | 133400 | 40 | 184000 | 70 | 184000 | 40 | 276000 | 70 | 322000 | 85 | 322000 | 50 | 377200 | 70
|  | 93 | 13950 | 40 | 18600 | 40 | 33480 | 40 | 39990 | 40 | 93000 | 40 | 139500 | 70 | 134850 | 40 | 186000 | 70 | 186000 | 40 | 279000 | 70 | 325500 | 85 | 325500 | 50 | 381300 | 70
|  | 94 | 14100 | 40 | 18800 | 40 | 33840 | 40 | 40420 | 40 | 94000 | 40 | 141000 | 70 | 136300 | 40 | 188000 | 70 | 188000 | 40 | 282000 | 70 | 329000 | 85 | 329000 | 50 | 385400 | 70
|  | 95 | 14250 | 40 | 19000 | 40 | 34200 | 40 | 40850 | 40 | 95000 | 40 | 142500 | 70 | 137750 | 40 | 190000 | 70 | 190000 | 40 | 285000 | 70 | 332500 | 85 | 332500 | 50 | 389500 | 70
|  | 96 | 14400 | 40 | 19200 | 40 | 34560 | 40 | 41280 | 40 | 96000 | 40 | 144000 | 70 | 139200 | 40 | 192000 | 70 | 192000 | 40 | 288000 | 70 | 336000 | 85 | 336000 | 50 | 393600 | 70
|  | 97 | 14550 | 40 | 19400 | 40 | 34920 | 40 | 41710 | 40 | 97000 | 40 | 145500 | 70 | 140650 | 40 | 194000 | 70 | 194000 | 40 | 291000 | 70 | 339500 | 85 | 339500 | 50 | 397700 | 70
|  | 98 | 14700 | 40 | 19600 | 40 | 35280 | 40 | 42140 | 40 | 98000 | 40 | 147000 | 70 | 142100 | 40 | 196000 | 70 | 196000 | 40 | 294000 | 70 | 343000 | 85 | 343000 | 50 | 401800 | 70
|  | 99 | 14850 | 40 | 19800 | 40 | 35640 | 40 | 42570 | 40 | 99000 | 40 | 148500 | 70 | 143550 | 40 | 198000 | 70 | 198000 | 40 | 297000 | 70 | 346500 | 85 | 346500 | 50 | 405900 | 70
|  | 100 | 15000 | 40 | 20000 | 40 | 36000 | 40 | 43000 | 40 | 100000 | 40 | 150000 | 70 | 145000 | 40 | 200000 | 70 | 200000 | 40 | 300000 | 70 | 350000 | 85 | 350000 | 50 | 410000 | 70